
Technical specifications

T9000 Line-voltage Plug Control Node.

GENERAL

4.5”L x 2.4 W x 2.65
Enclosure:

 PCB

Mounting:

Tip flange at outlet cover retaining screw
ELECTRICAL
Operating Power:

120VAC @ .6 watts quiescent 

Input/Output:

Standard grounded outlet/plug configuration:

· NEMA 5-15P grounded male plug

· NEMA 5-15R grounded female receptacle

· Built-in relay - 15A @ 120vac resistive load
· Built-in relay – 1HP @ 120vac motor load

ESD Withstand Voltage for No Hard Failures:

2.0 kV

[image: image1.jpg]



Standards:
FCC Part 15
LEDs:

No user accessible indicators

ENVIRONMENTAL
Temperature Range:

Operating:    0o to +70oC

Storage:      -40o to +85oC

Humidity Range:

10% to 95% RH, non-condensing at 70oC

COMMUNICATION

Physical Layer:

916.5 MHz Amplitude Shift Keyed

Packet Communications Protocol:

ANSI 709.1-1999

Communication Rate:

9600 bps 


FOR MORE INFORMATION CONTACT

E  N  E  R  N  E  T


C o r p o r a t i o n


307 Dewittshire Road, Syracuse, New York  13214

Phone:  (315) 449-0839

Fax:  (315) 449-3056

Email: corpsales@enernetcorp.com 
Web: http://www.enernetcorp.com















































































































































































































































































































































































































































































































































































































































































































































